|  |  |  |  |
| --- | --- | --- | --- |
| **STM** |  | PN | SN |
| Base | STM support Base | 920-000-005 | 1B489 |
| Base |  |  |  |
| SCANNER | Head | 1428AI |  |
| SCANNER | Head (Bad NG) | DI HD-8 | 1112DI |
| Pico amp boster | STM Converter | MMSTMLCE | 365 |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
| **Multi Mode** |  |  |  |
| Base (label 1995) | Base used | MMAFM-2 | MMAFM-524 |
| (label 1998) | Same base as above | MMAFM-2 | 524EX |
| Old base (label 1991 DI) |  | ECAFM-1 | ECAFM-126 |
| Video microscopy |  | OMV-UNIV | 1B98D |
| Head |  |  | MMAFMLN-524 |
| Head (old) |  |  | AFM 256 |
| Scanner | z |  | 2602AZ |
| Scanner | E |  | 405E-Z |
| Scanner | J |  | 2721JV |
|  |  |  |  |
|  |  |  |  |
| **Icon** |  |  |  |
| Controller | NSV controller ASSY | 840-002-351 | 44E7FZ |
| Controller | Icon Stage Controller-FS | 840-002-372 | 44AQ6Y |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |