Helpful Hints

- Go to File. Select “IMPORT IMAGE”>”DIRECTORHOW CAPTURE” a video window is opened.  You an also click on the video icon located at the top of the window.

- Go to “Device” menu on the start page and click to select the appropriate model of the camera.

- To capture video images:

  - Go to ‘CAPTURER” menu and select one of the following capture options,

    - Copy a frame (does not allow captured image to be saved)

    - Capture a Frame (allows saving)

    - Auto Capture

    - Start Capture

  - To Capture a still image

    - Go to ‘FILE” select “IMPORT IMAGE”>’TWAIN ACQUIRE”

- You may need to go to “DEVICE” to select the correct eyepiece camera model.

- You can select the file location and file type when saving by going to the “FILE” menu.