| California Institute of Technology BECKMAN INSTITUTE 1200 East California Boulevard Pasadena, California 91125 |
| --- |
| Bruce Brunschwig Director of the Molecular Materials Resource Center Mail code 139-74 | Telephone: Fax: E-mail: | (626) 395-2420 (626) 564-9672 bsb@caltech.edu |

InfraRed Associates, Inc.

Attention Fred Roth

RMA 1535

2851 SE Monroe Street

Stuart, FL 34997

Dear Fred,

The detector develops a peak that looks like water at around 3400 cm-1.  After it has been cold about 3 hours there is an absorbance that is about 5 % T.  We sent the detector in to Infrared Ass. about a month ago for pumping down.  I hope that you can find the leak in the Dewar.

Thanks

Bruce Brunschwig