- Describe all the steps necessary to insert a sample into the XPS sample compartment.  Don’t forget to mount the sample on a stub and mention any periods that you need to wait.

- Describe all the steps necessary to take a sample out of the sample compartment of the XPS instrument.

- How and why does what the microscope sometimes observe a different position on the sample than the xray source?

- For Carbon how many peaks can you observe?

- What is the resolution of our XPS instrument?

- What peaks other than those from your sample might you observe in an XPS spectra?

- Describe the XPS analyzer.

- Why is nitrogen used to relieve the vacuum in the load lock chamber when you will open it to air?  What happens if you used atmospheric air?

- What samples will you run on the XPS?

- How often do you expect to use the XPS?

- What is the energy of the X-ray soruce on the XPS?

- How deep will the X-rays penetrate on your samples?

- From how deep will the electrons be emitted from for your samples?

- What is the energy relationship between the energy of the X-rays and the electrons?

- What are Auger electrons?

- When is the flood gun used and how do you adjust it?

- If something unexpected happens what should you do?

- If your stub falls of the manipulator, what should you do?

- State four ways can you damage the manipulator arms?

- What is the difference between scanned and unscanned mode?

- Draw the XPS with the sample analyzer.

- Name three things that effect the resolution that you obtain for the XPS instrument.

- How does the sample analyzer work?

Resources:

http://www.chem.qmw.ac.uk/surfaces/scc/

http://www.cem.msu.edu/%7Ecem924sg/LectureNotes.html

http://matsci.uah.edu/CourseWare/mts723/lectures/