Service Physics Inc

20340 Empire Ave, Suite E4

Bend, OR 97701 USA

Phone 541-318-8688	Fax 541-322-0121

FILAMENT & CATHODE RAILURE REPORT

Measurements when Filament and/or Cathode are removed from service

Customer:  Caltech        Gun # I8856-LSG034

Date removed from Service

Date Installed

Filament S/N:    1071    shipper 11-29-05

Cathode S/N:

1. Following values taken with Glassman Voltage at zero (0)

I2KC (Voltage (TP3-TP3)/40 )

IFil  (Voltage: (TP1-TP2)/.33)

E2KV:		  Line Frequence  50 Hz     60 Hz

Spot Size Settings	Pierce Voltage

2: Valuyes with Glassman at maximum setting (10 KV)

E10KV

Spot size Setting		F1	Glassman current

3: Resistance within one (1) minute of turning gun off

C-Fil

C-Pierce

Pierce-Fil

C-Ground